PAGE  
[image: image1.jpg]BIOLG®GIX

IIIIIIIIIIII



[image: image2.jpg]=

00000
0000
0000000,
O@@@@@ﬁ%

r<

ke i —

i E G
©PeEEEO®® ==
©eeEEEO®® ==
(oJclojolelolele) =7
0POEEEO® ==!
©P®EEEO® =7
©P®EEEO®® ==
©POEOEO® |. 1
©PeEEEO® MW

—=
—=
=

- 5 il W]
a

o

)

v



         

         Document Number:     Document Date:      Page
BD-T0061          May 2012        2/2

PCR Plates
I. APPLICATIONS

1. Molecular biology

2. Cell centrifugation 

3. Sample storage

4. Centrifugation of precipitates

II. FEATURES

1. Materials: Virgin polypropylene

2. Chemically resistant to alcohols and mild organic solvents

3. Transparent wall permits easy viewing of tube contents

4. Temperature range: stable from -20ºC to 100ºC 

5. Tested to withstand centrifugation of 6,000 RCF in a fully supported rotor

6. Certified RNase & DNase Free
7. Compatible with most popular 96-well thermal cyclers
III.  PCR PLATES DESIGN

1. The plate has a working volume of 0.2ml per well.

2. The half-skirted plate provides superior rigidity and is easy to insert and extract.
3. Ultra-thin walls of uniform thickness - accelerate heat transfer leading to shorter cycle times and more consistent results. 

4. Clearly visible with either clear or turbid samples.
5. Alphanumeric well coding available to further assist in sample storage and organization.
IV. PACKAGING

1.96-well PCR Plates: 25 plates/pack, 4 packs/case.
V. DESCRIPTION
	Item
	Description
	Packaging
	Sterile

	60-0056
	96-well PCR Plates, Half-Skirted, Clear
	25 plates/pack, 4 packs/case
	No

	60-0156
	96-well PCR Plates, Half-Skirted, Pink
	25 plates/pack, 4 packs/case
	No

	60-0256
	96-well PCR Plates, Half-Skirted, Green
	25 plates/pack, 4 packs/case
	No

	60-0356
	96-well PCR Plates, Half-Skirted, Blue
	25 plates/pack, 4 packs/case
	No

	60-0456
	96-well PCR Plates, Half-Skirted, Yellow
	25 plates/pack, 4 packs/case
	No


　　       　　　　　　　                          
VI. STERILITY
1. N/A
VII. CERTIFICATION

    Biologix products are manufactured completely according to the TUV ISO 9001:2008 standard.

VIII. RESTRICTIONS
Refer to the Chemical Resistance Chart in our catalog, and available within our online catalog. 

IX. PRODUCT PARAMETER 
Dimensions=mm
	Cat #
	Description
	A
	B
	C
	D
	E
	F
	G
	H
	I

	60-0056
	96-well PCR Plates
	85.5
	84.5
	63
	126
	125
	99
	9
	9
	4

	
	
	J
	K
	L
	M
	N
	O
	P
	Q
	

	
	
	7
	31
	21
	8
	O.D. 8
	O.D. 5.8
	O.D.5.3
	21
	



Tel: +86-531-67802668        Fax: +86-531-67803768          www.BiologixGroup.com


